PROVINCE OF PANGASINAN

BIDS AND AWARDS COMMITTEE (BAC)

2nd Floor Malong Building, Capitol Compound

Lingayen, Pangasinan

Tel. No. (075) 542-6918

Website@biddingandawards.pangasinan.gov.ph E-mail address: ebmendoza57@yahoo.com

February 7, 2011

NOTICE OF NEGOTIATED PROCUREMENT

(Small Value Procurement)

## Project:	Replacement/Repair of Submersible Pump of Capitol Water System

1	unit	“Grunfos” Stainless Steel Submersible pump, stainless steel

impeller coupled w/ “Franklin” USA submersible motor 3HP, single phase, 220V, 59m TDH, 8cu.m./HR discharge, type SP8A-9

1	unit	Assy.IEC Standard LG industrial full voltage non-

reversing magnetic starter for 3HP, single phase, 60 Hz w/ cpombination circuit breaker, thermal overload relay indicating pilot light, start/stop push button selector w/ liquid level control types LH & RH w/ electrodes in general purpose, enclosure under/over voltage relay & phase failure relay & lightning arrester.

3	rolls	Rubber tape, Nitto

2	rolls	Electrical tape, big

300	m.	Suuspension wire #14, Phelps Dodge w/ 2 pds. Electrodes

10	pcs.	Teflon, ¾ Tombo

Location: 	Provincial Governor’s Office

Lingayen, Pangasinan

Approved Budget for

the Contract (ABC):		P 225,040.00

Approved by:

RAFAEL F. BARAAN

Provincial Administrator

BAC Chairman