PROVINCE OF PANGASINAN

BIDS AND AWARDS COMMITTEE (BAC)

2nd Floor Malong Building, Capitol Compound

Lingayen, Pangasinan

Tel. No. (075) 542-6918

Website@biddingandawards.pangasinan.gov.ph E-mail address: ebmendoza57@yahoo.com

February 19, 2013

# INVITATION to SUBMIT QUOTATIONS

The Provincial Government of Pangasinan thru its Bids & Award Committee (BAC) is inviting interested prospective bidders/suppliers to submit their government price quotations for the following items listed below:

## Project No.1:  Electrical Materials/Supplies

Location : GSO, Lingayen, Pangasinan (for use in the installation of Dialysis Machine at PPH, San Carlos

City - ICU Section)

1	can	Solvent Cement

12	PVC Coupling Reducer, 1 x ¾

4	pc.	PVC Coupling 1”

6	pc.	PVC Elbow, 1”

2	pc.	PVC Elbow, 2”

2	pc.	PVC Tee, 1”

6	pc.	PVC Male adapter ¾

6	pc.	PVC Cap. ¾

1	pc.	PVC Pipe ¾

6	pc.	PVC Ball Valve

5	pc.	Teflon Tape ¾

3	pc.	Electrical Tape, 20 black

1	pc.	Koten KSB 2P 30A

1	roll	THHN 3.5mm2

30	pc.	Cable Tie

1	pc.	Paint Brush, ¾

1	pc.	PVC Pipe 2, orange

1	pc.	PVC P-Trap 2

1	pc.	PVC Elbow 2

1	pc.	PVC Pipe PLN ½ x 6 ft.

4	pc.	Teflon tape ½

8	pc.	PVC Female Adapter ½

8	pc.	PVC Coupling ¾ x ½

1	pc.	NLTX PVC Pipe

2	pc.	Focus AVR

1	pc.	Koten KSB 2P 60A

1	pc.	Lotus (LD) LPC-7001-PVC, Pipe Cutter

3	pc.	Focus AVR

1	pc.	C-Disc 4’ Metal

1	roll	PD THHN ST.5.50 #10x150

10	pc.	PVC Tox #5

2	pc.	PVC Tox #8

15	pc.	Electrical Plastic Moulding

5	pc.	Circuit Outlet

1	pc.	Rubber Plug, heavy duty

10	pc.	Metal Screw

5	 Surface Utility Box

8	pc.	PVC Moulding 1’

1	pc.	Screw Driver, 7”

Approved Budget

For the Contract:		P 63,242.80

BAC Secretariat

Second Floor, Malong Building
Capitol Compound, Lingayen, Pangasinan

Attention:

Mr. Edwin Mendoza

BAC Secretariat Member

Tel # (075)542-6918

NOTE: Price quote must include 12% Value-Added-Tax (VAT)

Approved by:

## RAFAEL HOWARD F. BARAAN

BAC Chairman