PROVINCE OF PANGASINAN

BIDS AND AWARDS COMMITTEE (BAC)

2nd Floor Malong Building, Capitol Compound

Lingayen, Pangasinan

Tel. No. (075) 542-6918

Website@biddingandawards.pangasinan gov.ph, E-mail address: ebmendoza57@yahoo.com

February 27, 2013

NOTICE OF NEGOTIATED PROCUREMENT

(Small Value Procurement)

## Project:	Purchase of Various Materials/Supplies (for use in t he installation of generator set at Capitol Building)

1	assy.	ATS Panel 800A 3P, 220V

30	m.	Stranded Thin Wire mm2

1	pc.	PVC Pipe 3”ø

2	pc.	PVC Long Elbow, 3”ø

12	pc.	Terminal Lugs 150 mm2

12	pc.	Terminal Lugs 250 mm2

1	pc.	Angle Bar 10ft., 2” 316”

½	kl.	Welding Rod, gray

8	pc.	Bolt w/ nut 5/16” x 1½”, stainless

4	pc.	Electrical Tape, big

2	pc.	Hacksaw Blade

Location: 	General Services Office

Lingayen, Pangasinan

Approved Budget for

the Contract (ABC):		P 367,090.50

Approved by:

RAFAEL HOWARD F. BARAAN

Provincial Administrator

BAC Chairman