PROVINCE OF PANGASINAN

BIDS AND AWARDS COMMITTEE (BAC)

2nd Floor Malong Building, Capitol Compound

Lingayen, Pangasinan

Tel. No. (075) 542-6918

Website@biddingandawards.pangasinan gov.ph, E-mail address: ebmendoza57@yahoo.com

February 27, 2013

NOTICE OF NEGOTIATED PROCUREMENT

(Small Value Procurement)

## Project:	Purchase of Various Materials/Supplies (for use in t he installation of Pumping Machinery, Distribution Pipelines & Pump House at Pozorrubio Community Hospital)

1	unit	2HP Vertical, Deepwell Motorpump, 220 volts, single phase w/

pressure switch and gauge & casing adapter

1	pc.	Packer Ejector for 2”ø casing

4	pc.	US Leather cups

1	pc.	1” foot valve

2	pc.	2”ø x 20’ GI Pipes sch. 40 w/ 2” BI Couplings

2	pc.	1-1/4”ø x 20’ GI Pipes sch. 40 w/2”BI Coupling

1	pc.	1”ø x 20’ GI Pipes sch. 40 w/ BI Coupling

2	pc.	2” Check valve

2	pc.	2” Gate valve, great volume

1	unit	80 gals. Stainless steel pressure tank, gauge #12 w/ drain plug

& bushing reducer

3	pc.	1” GI Plug

8	pc.	1” GI Elbow

8	pc.	1” GI Street Elbow

4	pc.	1” GI Tee

8	pc.	1” x 3” GI Nipple sch. 40

8	pc.	1” x 5’ GI Nipple, sch. 40

4	pc.	1” Union Patente

30	pc.	¾” Teflon

1	box	#10 Stranded Wire, THHN

17	pc.	½” x 10’ PVC, orange

6	pc.	½” PVC elbow

1	pc.	Circuit breaker, 30 Amp. (plug in type)

1	pc.	Surface Breaker, 30Amp.

1	pc. 	Electrical Tape, big

1	roll	1” x 100m PE Pipe SDR #9

4	pc.	1” Brass Adapter

2	pc.	1” x ½” Coupling Reducer

2	pc.	1” x 1/2 “ Bushing Reducer

15	bag	Portland Cement

2	cu.m.	Washed Sand

1	cu.m.	Gravel

140	pc.	4” x 8’ x 16” CHB

10	pc.	10m x 6m RSB

2	kgs.	#16 Tie Wire

1	set	Padlock, big

1	pc.	1”ø x 6m GI Pipe sch. 40

4	pc.	1”ø x 1 Coupling

6	pc.	½” x 6m square bar, gray

10.57	bd.ft.	2-2” x 4” x 8’ Good Lumber

20	bd.ft.	5-2” x 3” x 8’ Good Lumber

18.7	bd.ft.	7-2” x 2” x 8’ Good Lumber

4	pc.	#26 x 8’ Corr. GI Sheet

1	pc.	#26 x 8’ Plain GI Sheet

3	kg.	Roff Nails

2	kg.	CWN (2”, 3”, 4”)

1	can	Vulcaseal, ¼” ltr.

2	pc.	1” x 8” x 10’ Fascia Board, s4s

2	pc.	1” x 8” x8’ Fascia Board s4s

2	kgs.	3/16” Welding Rod

1	gal.	Latex White, flat wall

1	gal.	Latex white, semi-gloss

1	ltr.	Neutralizer

2	ltr.	QDE, chocolate brown

2	ltr.	Red Oxide paint

1	ltr.	Tinting color, rose sienna, latex

2	bot.	Paint thinner

3	pc.	Paint brush, 3”, 2”, 1”

1	lt.	Glazing putty

Location: 	General Services Office

Lingayen, Pangasinan

Approved Budget for

the Contract (ABC):		P 135,455.07

Approved by:

RAFAEL HOWARD F. BARAAN

Provincial Administrator

BAC Chairman