PROVINCE OF PANGASINAN

BIDS AND AWARDS COMMITTEE (BAC)

2nd Floor Malong Building, Capitol Compound

Lingayen, Pangasinan

Tel. No. (075) 542-6918

Website@biddingandawards.pangasinan gov.ph, E-mail address: ebmendoza57@yahoo.com

April 22, 2013

NOTICE OF NEGOTIATED PROCUREMENT

(Small Value Procurement)

## Project 1:	Purchase of Construction, Plumbing/Sanitary Materials/Supplies (for use in the Construction of 2 units 5’ x 24’ Temporary Comfort Rooms and Shower Rooms for Men and Women at Beachfront)

30	pc.	¾” Teflon

8	pc.	1” X 3” GI Nipple, sch. 40

8	pc.	1” x 5” Gi Nipple, sch. 40

1	roll	1”ø x 100m #9, PE Pipe, blue

2	pc.	30 Amp. Surface Breaker

1	box	#12 PDX Wire

1	pc.	Electrical Tape, big

8	can	Solvent Cement, 400cc

40	pc.	½” ø x 10’ PVC, blue

30	pc.	½” ø Male Adapter, blue

50	pc.	½”ø Elbow, blue

30	pc.	½”ø Elbow with thread

20	pc.	½”ø PVC Tee

20	pc.	½”ø PVC Female Adapter

6	pc.	Shower Valve

6	pc.	Shower Head

6	pair	Stockings

6	m.	Mosquito Net

20	pc.	3” x 10” PVC Pipe, orange

16	pc.	3” PVC Elbow, orange

10	pc.	3” x 3” PVC Tee, orange

6	pc.	3” x 2” PVC Tee Reducer, orange

6	pc.	2” x 10” PVC Pipe, orange

1	pc.	3” PVC CO, orange

6	pc.	½” x 3/8” Angle Valve, original

6	pc.	¾ x 3/8 Flexible Hose, original

6	set	Water Closet Tank Fittings

6	can	¼ Liter Vulcaseal

8	pc.	1” x 20’ GI Pipe sch. 40 w/ BI Couplings

24	pc.	½” x 20’ Square Bar, yellow

10	kg.	Welding Rod, 5/32

4	pc.	Corrugated GI Sheet, gauge 21 x 8’

2	pc.	Padlock, big

2	ltr.	Red Lead Paint

1	bot.	Thinner

2	pc.	¾” Paint Brush

60	bd.ft.	¼” x 4” x 8’ Marine Plywood

40	bd.ft.	8-2” x 3” x 10’ Good lumber

712	bd.ft.	178-2” x 3” x 8’ Good Lumber

171	pc.	64-2” x 2” x 12’ Good Lumber

48	bd.ft.	12-2” x 2” x 12’ Good Lumber

24	Antique Puller

36	pc.	Higes 3” x 3”

12	pc.	Barrel Bolt 3”

15	kl.	CWN 3”

10	kl.	CWN 2”

5	kl.	CWN 1’

12	gal.	Flat Latex paint

4	ltr.	Latex color, rawsienna

4	ltr.	Latex Color, hansa yellow

4	pc.	Roller brush

4	pc.	Paint brush 1”

3	cu.m.	Washed Sand

3	cu.m.	Crushed Gravel

16	pc.	Cement

6	pc.	Construction Pail

2	unit	1.5 Motorpump w/ pressure switch gauge & 1½ x 1” bushing

reducer

2	unit	80 gal. Stainless Steel Pressure Tank

Gauge & 1½” x 1” Bushing Reducer

2	pc.	2”ø x 20’ GI Pipe sch. 40

2	pc.	2”ø x 1 ¼” Coupling Reducer

6	pc.	1” GI Plug

2	pc.	1” Foot valve

2	pc.	1” Gate Valve

6	pc.	GI Union, 1” s40

8	pc.	1” GI Elbow

8	pc.	1” Street Elbow

6	pc.	1” PE Tee

6	pc.	1” Brass Adapter

14	pc.	½” Brass Faucet – Hose

2	pc.	¼” Brass Branch Fittings

Location: 	General Services Office

Lingayen, Pangasinan

Approved Budget for

the Contract (ABC):		P 320,900.00

## Project 2:	Purchase of Construction, Plumbing/Sanitary Materials/Supplies (for use in the Repair of Comfort Rooms/Septic Tank and Provision of Septic Tank outlet at Manaoag Community Hospital, Manaoag, Pangasinan)

3	kg.	CWN (1”, 2”, 3”)

1	kg.	Concrete Nail, 2”

60	pcs.	4” x 8” x 16” CHB

2	pc.	¼” x 4” x 8’ Marine Plywood

2	pc.	4” x 4” Floor Drain

10	bag	Cement

10	pc.	RSB, 10mm x 6m

2	kg.	Tie Wires #16

10	pc.	Form Lumber 2” x 2” x 8’

130	pc.	Floor Tiles, white, 8” x 8”

2	pc.	PVC Pipe 4 x 10, orange

6	pc.	Elbow 4 x 90

4	pc.	Tee Reducer, 4 x 2

4	pc.	Tee, 2”, 4 x 2

8	pc.	Elbow, 2” x 90

4	pc.	Elbow, 2 x 45

2	pc.	P-Trap 2”, PVC

3	pc.	PVC Pipe, ½ x 10, blue

8	pc.	Female Adapter, ½

6	pc.	Elbow w/ thread, ½

2	pc.	Lavatory P-Trap

20	pc.	3” x 3m PVC Pipe, orange

20	pc.	Teflon Tape, ¾”

2	pc.	Lavatory, flexible hose

2	pc.	Water Closet, angle valve

2	pc.	Lavatory, angle valve

2	pc.	Water Closet, flexible hose

2	set	Tank Fitting

4	pc.	Lavatory Bracket w/ tex and screw

3	pc.	PVC Pipe 2 x 10, orange

Location: 	General Services Office

Lingayen, Pangasinan

Approved Budget for

the Contract (ABC):		P 35,312.17

Approved by:

RAFAEL HOWARD F. BARAAN

Provincial Administrator

BAC Chairman