PROVINCE OF PANGASINAN

BIDS AND AWARDS COMMITTEE (BAC)

2nd Floor Malong Building, Capitol Compound

Lingayen, Pangasinan

Tel. No. (075) 542-6918

Website@biddingandawards.pangasinan gov.ph, E-mail address: ebmendoza57@yahoo.com

September 22, 2014

NOTICE OF NEGOTIATED PROCUREMENT

(Small Value Procurement)

## Project :	Purchase of Various Materials/Supplies for the Replacement of Submersible Pump

## (PR#2014-07-7331)

1	unit	Submersible Pump, SP 8A-9 Stainless Steel Pump Bowl Shaft &

Impeller with Built in Check Valve coupled to submersible motor water lubricated to 3hp, single phase 230V, 60Hz with complete motor lead wire & bolts for 4” discharge, electrodes & control box

1	ass.	Full voltage non-reversible for 3hp, 230V, single phase, 60Hz

complete with combination circuit breaker, magnetic contactor, thermal overload relay, timer, under-over voltage relay, liquid level control relay with start/stop push button, indicating pilot light, HOA selector wired in NEMA standard inclosure

50	m.	Submersible Cable, 12/3

4	roll	Submersible Tape, 3m

4	pc.	Electrical Tape, 3m

6	pc.	2”ø x 20’ GI Pipe, sch. 40 with BI Couplings

2	pc.	Drill Bit pointed chisel for TE 1500-AVR Breaker

Location: 	Provincial Governor’s Office

Lingayen, Pangasinan

Approved Budget for

the Contract (ABC):		P 196,595.00

Approved by:

RAFAEL HOWARD F. BARAAN

Provincial Administrator

BAC Chairman