PROVINCE OF PANGASINAN

BIDS AND AWARDS COMMITTEE (BAC)

2nd Floor Malong Building, Capitol Compound

Lingayen, Pangasinan

Tel. No. (075) 542-6918

Website@biddingandawards.pangasinan gov.ph, E-mail address: ebmendoza57@yahoo.co

January 22, 2015

NOTICE OF NEGOTIATED PROCUREMENT

(Small Value Procurement)

## Project :	Purchase of Construction/Electrical and Water System Materials (for use in the Repair of Deep Well and Construction of Water System  at Macaboboni E/S, Agno, Pangasinan)

## (PR#2014-12-13507)

1	unit	Pump, 1.5HP vertical type

1	set	Casing Adapter

1	set	Jet Assembly with leather cap, 2”

5	pc.	GI Pipe 2” x 20’ sch. 40 with coupling

5	pc.	GI Pipe 1¼” x 20’ sch. 40 with coupling

3	pc.	GI Pipe 1” x 20’ sch. 40

1	pc.	Check Valve 1”

1	pc.	Gate Valve, 1”

3	pc.	Union, 1”

5	pc.	Elbow, 1”

5	pc.	Street Elbow, 1”

4	pc.	Nipple 1 x 4

4	pc.	Nipple 1 x 5

1	pc.	Branch Fittings, ¼

1	pc.	Bushing Reducer 1 x ¼

1	pc.	Plug, ½

1	pc.	Bushing Reducer 1 x ½

12	pc.	Tee, ½

24	pc.	Brass Adapter, ½

300	m.	Polyethylene pipe ½, blue

16	pc.	PVC Pipe ½ x 10, blue

30	pc.	PVC Elbow, ½ blue

15	pc.	Female Adapter, ½

10	pc.	Elbow with thread, ½

15	pc.	Brass Faucet ½

2	can	Solvent Cement

24	pc.	Teflon Tape, ¾

25	pc.	PVC Clamp ½

1	set	Circuit Breaker 30 amperes

1	roll	Electric Wire #12 purple

1	pc.	Electrical Tape

10	pc.	GI Elbow, ½

1	pc.	GI Pipe x 20’ sch. 40

1	unit	Pressure Tank 30 gal. stainless #12

2	pc.	GI Street Elbow, ½

15	pc.	½ Square Bar

2	pc.	GI Sheet #26 x 10’

1	pc.	Padlock, 50mm

1	ltr.	Red paint

1	bot.	Thinner

2	pc.	2 x 2 x 8 Lumber

5	pc.	Portland Cement

1	cu.m.	Mixed Sand & Gravel

25	pc.	CHB

5	kilo	Welding Rod

5	pc.	½ GI Pipe, sch. 40

1	kilo	#16 Tie Wire

2	pc.	Paint Brush, 1”

Location: 	Provincial Governor’s Office

Lingayen, Pangasinan

Approved Budget for

the Contract (ABC):		P 122,932.00

Approved by:

HILARIA J. CLAVERIA

Provincial Budget Officer

BAC Chairman