PROVINCE OF PANGASINAN

BIDS AND AWARDS COMMITTEE (BAC)

2nd Floor Malong Building, Capitol Compound

Lingayen, Pangasinan

Tel. No. (075) 542-6918

Website@biddingandawards.pangasinan gov.ph, E-mail address: ebmendoza57@yahoo.co

June 18, 2015

NOTICE OF NEGOTIATED PROCUREMENT

(Small Value Procurement)

## Project:	Purchase of Various Materials/Supplies (for use in the installation of 5 units Aicon Floor Mounted Type at Bengson Ancestral House)

## (PR#2015-06-6223)

100	ft.	Copper Tube 5/8

100	ft.	Copper Tube 3/8

10	pc.	Rubber Insulation 5/8 x ½

1	box	Wie #12 THHN

6	pc.	Polytelyn Vinyl Tape

6	pc.	Angle Bar 3/16 x 1½

6	pc.	PVC Pipe ¾, blue

30	pc.	PVC Elbow 3/4., blue

30	meter	Flexible Hose ½

20	pc.	Bolt & Nut 5/16 x 1

100	pc.	Tox & Screw #8

5	pc.	Circuit Breaker 40AMPs w/ Weather Proof Housing

50	meter	Wire #10 THHN

30	pc.	Expansion Shield & Bolts ½IDx1-½ long

5	pc.	Roof Sealant, Sachet

5	pc.	Electrical Tape, big

2	pc.	Paint Brush #2

1	liter	QDE Primer, black paint

3	kilo	Welding Rod

10	pc.	Copper Elbow 5/8

Location: 	PTCAO

Lingayen, Pangasinan

Approved Budget for

the Contract (ABC):		P 53,001.00

Approved by:

HILARIA J. CLAVERIA

Provincial Budget Officer

BAC Chairman